## Project, Key, Waiver
General Project Information
Development Name
PID
Total Units
New Construction/Substantial Rehab/Moderate Rehab
According to Enterprise definitions, identify level of ICC rehab (I, II, or III)
Rural/Tribal/Small Town designation?
According to Enterprise definition
Key
Term | Definition
PPA | Preliminary Project Assessment
Project Application | Post PPA Approval Application
Plan Review | Completed prior to Inital Closing
PNA | Property Needs Assessment
O&M Plan | Operations and Management Plan
Project Closing | Last financial closing or Construction Completion for the Project
Highlighted Criteria | Waivable criteria (maximum of 2 per Project)
Waiver Request
No criteria is eligible for a full waiver; the Authority will only waive a criteria if the Project made a good faith effort to achieve the criteria and was unable to achieve it 100%. Fill out the items below and provide a formal Waiver Review Request Form available on the IHDA Website in Developer Services. ( www.ihda.org/ihda-egc-criteria-waiver-request-form/ )
Item 1 requested:
Description of why the Project will not fully meet the requirement:
Item 2 requested:
Description of why the Project will not fully meet the requirement:

## Checklist
2020 ENTERPRISE GREEN COMMUNITIES: MANDATORY CRITERIA CHECKLIST FOR IHDA
MANDATORY CRITERIA CHECKLIST
This checklist provides an overview of the technical requirements within the Enterprise Green Communities Criteria, documentation proving these requirements are met for IHDA, and when these documents will be due in the development process. ONLY THIS .XLXS SHALLBE RETURNED. No PDFs will be accepted. To pass IHDA's threshold, Projects must meet all Enterprise Green Communities Mandatory Criteria applicable to its construction type, listed below. Provide all back-up materials when submitting for PPA and Project Application phases. Items denoted as NA shall be supported with a narrative or back-up material from a professional consultant.
YES / NA | Documentation | Timeline |  |  |  | 1. INTEGRATIVE DESIGN
| Survey (separate document) | PPA | 0 | M |  | 1.1 Integrative Design: Project Priorities Survey
Complete the Project Priorities Survey.
| Sample materials, narrative | Project Application | 0 | M |  | 1.2 Integrative Design: Charrettes and Coordination Meetings
Develop an integrative design process that moves the outputs of the Project Priorities Survey into action through a series of collaborative meetings. Prioritize multi-benefit strategies. Assign responsibility within your design and development teams for accountability.
| Documented on architectural drawings and specifications | Project Application, Plan Review (before closing) | 0 | M |  | 1.3 Integrative Design: Documentation
Include Enterprise Green Communities Criteria information in your contract documents and construction specifications (Division 1 Section 01 81 13 Sustainable Design Requirements) as necessary for the construction team to understand the requirements and how they will be verified. Ensure, and indicate, that the drawings and specifications have been generated to be compliant and meet the certification goals.
| Responses to select questions | Project Application | 0 | M |  | 1.4 Integrative Design: Construction Management
Create, implement, and document your contractor/subcontractor education plan to ensure that all persons working on-site fully understand their role in achieving the project objectives. Include a summary of the Project Priorities Survey (Criterion 1.1), the sustainability goals, and anticipated roles of each party in regards to the performance expected of the project. Attach and reference this training plan to Division 1 Section 01 81 13 Sustainable Design Requirements. Include timeline estimates for performance testing and verification schedules in the overall construction schedule. As relevant, review requirements for Criteria 8.1, 8.2, and 8.3, and begin populating these documents with relevant information from design and construction.
CRITERIA 1 SUBTOTAL
|  |  | 0 |  | 0 of 4 | Mandatory Criteria
YES / NA | Documentation | Timeline |  |  |  | 2. LOCATION + NEIGHBORHOOD FABRIC
| Description, EPRZ drawing | Project Application | 0 | M |  | 2.1 Sensitive Site Protection
All projects must: 1. Protect floodplain functions (e.g., storage, habitat, water quality) by limiting new development within the 100-year floodplain of all types of watercourses. 2. Conserve and protect aquatic ecosystems, including wetlands and deepwater habitats, that provide critical ecosystem functions for fish, other wildlife, and people. 3. Protect ecosystem function by avoiding the development of areas that contain habitat for plant and animal species identified as threatened or endangered. 4. Conserve the most productive agricultural soils by protecting prime farmland, unique farmland, and farmland of statewide or local importance. If your site contains any of these ecologically sensitive features, follow the specific Requirements under that subheading.
| Site Plan | PPA | 0 | M |  | 2.2 Connections to Existing Development and Infrastructure
(Mandatory for New Construction projects that do not qualify as Rural/Tribal/Small Town) Locate the project on a site with access to existing roads, water, sewers, and other infrastructure and within or contiguous to (having at least 25% of the perimeter bordering) existing development. Connect the project to the existing pedestrian network. For sites over 5 acres, provide connections to the adjacent street network at least every 800 feet. Tie all planned bike paths to existing bike paths.
| Calculation | PPA | 0 | M |  | 2.3 Compact Development
(Mandatory for New Construction) At a minimum, build to the residential density (dwelling units/acre) of the census block group where the project is located. In Rural/Tribal/Small Town locations that do not have zoning requirements: Build to a minimum net density of 5 units per acre for single-family houses; 10 units per acre for multifamily buildings, single and two-story; and 15 units per acre for multifamily buildings greater than two-stories.
| Document on list | PPA | 0 | M |  | 2.5 Proximity to Services and Community Resources
(Mandatory for New Construction) Locate the project within a 0.5-mile walk distance of at least four, or a 1-mile walk distance of at least seven, of the listed services. For projects that qualify as Rural/Tribal/Small Town, locate the project within 5 miles of at least four of the listed services.
| Separate drawing | Project Application, Plan Review | 0 | M |  | 2.6 Preservation of and Access to Open Space for Rural/Tribal/Small Town
(Mandatory for New Construction Rural/Tribal/Small Town) Option 1: Locate the project within a 0.25-mile walk distance of dedicated public open space that is a minimum of 0.75 acres; at least 80% of which unpaved. OR Option 2: Set aside a minimum of 10% (minimum of 0.25 acres) of the total project acreage as open and accessible to all residents; at least 80% of which unpaved.
| Google map, list of transit service | PPA | 0 |  |  | 2.8 Access to Transit
|  |  |  | M |  | (Mandatory for New Construction projects that do not qualify as Rural/Tribal/Small Town; Optional for all other project types) Mandatory: New Construction, not Rural/Tribal/Small Town Locate projects within a 0.5-mile walk distance of transit services (bus, rail and/or ferry), constituting at least 45 or more transit rides per weekday, with some type of weekend service.
| Electrical Drawings and Specifications | Plan Review | 0 | M |  | 2.15a Access to Broadband: Broadband Ready
(Mandatory for New Construction and Substantial Rehab Projects in Rural/Tribal/Small Town Locations) Incorporate broadband infrastructure so that when broadband service comes to a community, the property can be easily connected. Include a network of mini-ducts or conduit throughout the building, extending from the expected communications access point to each network termination point in the building.
CRITERIA 2 SUBTOTAL
|  |  | 0 |  | 0 of 7 | Mandatory Criteria
YES / NA | Documentation | Timeline |  |  |  | 3. SITE IMPROVEMENT
| Environmental Phase I | Project Application | 0 | M |  | 3.1 Environmental Remediation
Determine whether there are any hazardous materials present on the site through one of the four methods listed. Mitigate any contaminants found.
| Narrative, Landscape Drawings | Plan Review | 0 | M |  | 3.2 Minimization of Disturbance during Staging and Construction
For sites >1 acre, implement EPA's National Pollutant Discharge Elimination System Stormwater Discharges from Construction Activities guidance, or local requirements, whichever is more stringent. For sites with an area <= 1, follow guidance in full criterion.
| Landscape Plans | Project Application | 0 | M |  | 3.3 Ecosystem Services/Landscape
(Mandatory, if providing landscaping) If providing plantings, all must be native or climate-appropriate (adapted) to the region and appropriate to the site’s soil and microclimate. Do not introduce any invasive plant species. Plant, seed, or xeriscape all disturbed areas.
| Civil Engineering Drawings | Plan Review | 0 | M |  | 3.4 Surface Stormwater Management
(Mandatory for New Construction; Mandatory for Substantial and Moderate Rehab projects if land disturbed is >= 5,000 sq.ft.) Treat or retain on-site precipitation equivalent to the 60th percentile precipitation event. Where not feasible due to geotechnical issues, soil conditions, or the size of the site, treat or retain the maximum volume possible.
| Landscape drawings | Plan Review | 0 | M |  | 3.6 Efficient Irrigation and Water Reuse
(Mandatory, if permanent irrigation is utilized) If irrigation is utilized, install an efficient irrigation system per the requirements listed.
CRITERIA 3 SUBTOTAL
|  |  | 0 |  | 0 of 5 | Mandatory Criteria
YES / NA | Documentation | Timeline |  |  |  | 4. WATER
| Water calculation, Plumbing Drawings and Specifications | Plan Review | 0 | M |  | 4.1 Water-Conserving Fixtures
Reduce total indoor water consumption by at least 20% compared to baseline indoor water consumption chart. Any new toilet, showerhead, and/or lavatory faucet must be WaterSense certified. For all single-family homes and all dwelling units in buildings three stories or fewer, the supply pressure may not exceed 60 psi.
| Plumbing Drawings and Specifications, Legionella program | Project Closing | 0 | M |  | 4.3 Water Quality
Mandatory for Substantial Rehabs of buildings built before 1986: replace all lead service lines. For multifamily buildings with either a cooling tower, a centralized hot water system, or 10+ stories: Develop a Legionella water management program.
CRITERIA 4 SUBTOTAL
|  |  | 0 |  | 0 of 2 | Mandatory Criteria
YES / NA | Documentation | Timeline |  |  |  | 5. OPERATING ENERGY
| Construction Drawings | Project Application | 0 | M |  | 5.1a Building Performance Standard
| ENERGY STAR certification | Plan Review |  |  |  | (Mandatory for New Construction) Certify all buildings with residential units in the project through either ENERGY STAR Multifamily New Construction, ENERGY STAR Manufactured Homes, and/or ENERGY STAR Certified Homes as relevant. AND Provide projected operating energy use intensity and projected operating building emissions intensity.
| Energy Audit (PNA) | Project Application | 0 | M |  | 5.1b Building Performance Standard
(Mandatory for Rehab) Provide projected operating energy use intensity and projected operating building emissions intensity. AND Conduct commissioning for compartmentalization, insulation installation, and HVAC systems as indicated. AND one of the following options: - ERI Option: <= HERS 80 for each dwelling unit. Exception for some Rehabs built before 1980. - ASHRAE Option: Energy performance of the completed building equivalent to, or better than, ASHRAE 90.1-2013 using an energy model created by a qualified energy services provider according to Appendix G 90.1-2016.
| Manual J Calculations | Plan Review | 0 | M |  | 5.6 Sizing of Heating and Cooling Equipment
(Mandatory for Substantial and Moderate Rehabs that include replacement of heating and cooling equipment. Not relevant for projects following 5.1a, 5.2b, or 5.4.) Size and select heating and cooling equipment in accordance with ACCA manuals J and S OR in accordance with the ASHRAE Handbook of Fundamentals
| Cutsheets, Program Manual | Plan Review | 0 | M |  | 5.7 ENERGY STAR Appliances
(Mandatory for Substantial and Moderate Rehabs providing appliances. Not relevant for projects following 5.1a, 5.2b, or 5.4.) Install ENERGY STAR clothes washers, dishwashers, and refrigerators. If appliances will not be installed or replaced at this time, specify that at the time of installation or replacement, ENERGY STAR models must be used via Criterion 8.1 and Criterion 8.4.
| Electrical Drawings and Specifications | Plan Review | 0 | M |  | 5.8 Lighting
(Mandatory for all lighting within New Construction and Substantial Rehab projects. Mandatory for new lighting in Moderate Rehab projects.) Follow the guidance for high-efficacy permanently installed lighting and other characteristics for recessed light fixtures, lighting controls, lighting power density, and exterior lighting.
CRITERIA 5 SUBTOTAL
|  |  | 0 |  | 0 of 5 | Mandatory Criteria
YES / NA | Documentation | Timeline |  |  |  | 6. MATERIALS
| Document used materials | Plan Review | 0 | M |  | 6.4 Healthier Material Selection
Select all interior paints, coatings, primers, and wallpaper; interior adhesives and sealants; flooring; insulation; and composite wood as specified.
| Construction Drawings | Plan Review | 0 | M |  | 6.6 Bath, Kitchen, Laundry Surfaces
(Mandatory for New Construction and Substantial Rehab. Moderate Rehabs that do not include work in the shower and tub areas are exempt from the shower and tub enclosure requirement.) Use materials that have durable, cleanable surfaces throughout bathrooms, kitchens, and laundry rooms. Use moisture-resistant backing materials per ASTM # D 6329 or 3273 behind tub/shower enclosures, apart from one-piece fiberglass enclosures which are exempt.
| Construction Drawings | Plan Review | 0 | M |  | 6.8 Managing Moisture: Foundations
(Mandatory for all New Construction projects and all Rehab projects with either basement and/or crawl space foundations) Install capillary breaks and vapor retarders that meet specified criteria appropriate for the foundation type.
| Construction Drawings | Plan Review | 0 | M |  | 6.9 Managing Moisture: Roofing and Wall Systems
(Mandatory for all Rehab projects that include deficiencies in or include replacing particular assemblies called out below. New Construction projects are considered compliant per Criterion 5.1.) Provide water drainage away from walls, window, and roofs by implementing the list of techniques.
| Plan submittal in Project Manual | Plan Review | 0 | M |  | 6.10 Construction Waste Management
Develop and implement a waste management plan that reduces non-hazardous construction and demolition waste through recycling, salvaging, or diversion strategies through one of the three options.
CRITERIA 6 SUBTOTAL
|  |  | 0 |  | 0 of 5 | Mandatory Criteria
YES / NA | Documentation | Timeline |  |  |  | 7. HEALTHY LIVING ENVIRONMENT
| Environmental Phase I, Plumbing Drawings | Project Application, Plan Review | 0 | M |  | 7.1 Radon Mitigation
(Mandatory for New Construction and Substantial Rehab) For New Construction in EPA Zone 1 areas, install passive radon-resistant features below the slab and a vertical vent pipe with junction box within 10 feet of an electrical outlet in case an active system should prove necessary in the future. For Substantial Rehab projects in EPA Zone 1, test before and after the retrofit and mitigate per the specified protocols.
| Lead Survey Report, O&M Plan | Project Closing | 0 | M |  | 7.2 Reduce Lead Hazards in Pre-1978 Buildings
(Mandatory for Substantial Rehab of Buildings Constructed Before 1978) Conduct lead risk assessment or inspection to identify lead hazards. Control identified lead hazards using lead abatement or interim controls, using lead-safe work practices that minimize and contain dust.
| Mechanical Drawings | Plan Review | 0 | M |  | 7.3 Combustion Equipment
For New Construction and Rehab projects: Specify power-vented or direct-vent equipment when installing any new combustion appliance for space or water heating that will be located within the conditioned space. If there are any combustion appliances within the conditioned space, install one hard-wired carbon monoxide (CO) alarm with battery backup function for each sleeping zone, placed per National Fire Protection Association (NFPA) 72. For Rehabs: If there is any combustion equipment located within the conditioned space for space or water heating that is not power-vented or direct-vent and that is not scheduled for replacement, conduct combustion safety testing prior to and after the retrofit; remediate as indicated.
| Construction Drawings, Project Manual | Plan Review | 0 | M |  | 7.4 Garage Isolation
• Provide a continuous air barrier between the conditioned space and any garage space to prevent the migration of any contaminants into the living space. Visually inspect common walls and ceilings between attached garages and living spaces to ensure that they are air-sealed before insulation is installed. • Do not install ductwork or air handling equipment for the conditioned space in a garage. • Fix all connecting doors between conditioned space and garage with gaskets or make airtight. • Install one hard-wired CO alarm with battery backup function for each sleeping zone of the project, placed per NFPA 72 unless the garage is mechanically ventilated or an open parking structure.
| Construction Drawings, Project Manual | Plan Review | 0 | M |  | 7.5 Integrated Pest Management
Seal all wall, floor, and joint penetrations with low-VOC caulking or other appropriate nontoxic sealing methods to prevent pest entry.
| Policy | Project closing | 0 |  |  | 7.6 Smoke-Free Policy
|  |  |  | M |  | Implement and enforce a smoke-free policy in all common areas and within a 25-foot perimeter around the exterior of all residential buildings. Lease language must prohibit smoking in these locations and provide a graduated enforcement policy. Make the smoke-free policy readily available.
| Mechanical Drawings | Plan Review | 0 | M |  | 7.7 Ventilation
(Mandatory for New Construction and Substantial Rehab; Optional for Moderate Rehab) For each dwelling unit in full accordance with ASHRAE 62.2-2010, install: • A local mechanical exhaust system in each bathroom • A local mechanical exhaust system in each kitchen • A whole-house mechanical ventilation system Verify these flow rates are either within +/- 15 CFM or +/- 15% of design value. For all project types, in addition to the above requirements: • All systems and ductwork must be installed per manufacturer's recommendations • All bathroom fans must be ENERGY STAR-labeled and wired for adequate run-time. • If using central ventilation systems with rooftop fans, each fan must be direct-drive and variable-speed with speed controller mounted near the fan. Fans with design CFM 300-2000 must also have an ECM motor.
CRITERIA 7 SUBTOTAL
|  |  | 0 |  | 0 of 7 | Mandatory Criteria
YES / NA | Documentation | Timeline |  |  |  | 8. OPERATIONS, MAINTENANCE + RESIDENT ENGAGEMENT
| O&M Plan | Project Closing | 0 | M |  | 8.1 Building Operations & Maintenance Manual and Plan
(For all Multifamily projects) Develop a manual with thorough building operations and maintenance (O&M) guidance and a complementary plan. The manual and plan should be developed over the course of the project design, development, and construction stages, and should include sections/chapters addressing the list of topics.
| Manual | Project Closing | 0 | M |  | 8.2 Emergency Management Manual
(For all Multifamily projects) Provide a manual on emergency operations targeted toward operations and maintenance staff and other building-level personnel. The manual should address responses to various types of emergencies, leading with those that have the greatest probability of negatively affecting the project. The manual should provide guidance as to how to sustain the delivery of adequate housing throughout an emergency and cover a range of topics, including but not limited to: • communication plans for staff and residents • useful contact information for public utility and other service providers • infrastructure and building, "shutdown" procedures • plan for regular testing of backup energy systems, if these exist
| Manual | Project Closing | 0 | M |  | 8.3 Resident Manual
Provide a guide for homeowners and renters that explains the intent, benefits, use, and maintenance of their home's green features and practices. The Resident Manual should encourage green and healthy activities per the list of topics.
| Narrative describing frequency, method | Project Application | 0 | M |  | 8.4 Walk-Throughs and Orientations to Property Operation
Provide a comprehensive walk-through and orientation for all residents, property manager(s), and buildings operations staff.
| Provide access to ENERGY STAR Portfolio Manager or send data | Operations (quarterly) | 0 | M |  | 8.5 Energy and Water Data Collection and Monitoring
For rental properties, upload project energy and water performance data in an online utility benchmarking platform annually for at least five years from time of construction completion per one of the four methods provided; grant Enterprise view access for that period. For owner-occupied units, collect and monitor utility data in a manner that allows for easy access and review.
CRITERIA 8 SUBTOTAL
|  |  | 0 |  | 0 of 5 | Mandatory Criteria
TOTAL
|  |  | 0 |  | 0 of 40 | Mandatory Criteria

## 1. Design
1. INTEGRATIVE DESIGN | Timeline
1.1 Integrative Design: Project Priorities Survey | PPA
Complete the Project Priorities Survey.
This is a separate document that can be found on the Developer Resource Center in the PPA section.
1.2 Integrative Design: Charrettes and Coordination Meetings | Project Application
Develop an integrative design process that moves the outputs of the Project Priorities Survey into action through a series of collaborative meetings. Prioritize multi-benefit strategies. Assign responsibility within your design and development teams for accountability.
Narrative summarizing when the meeting(s) occurred, who attended, and what was discovered:
Insert a screenshot of a sample educational document for a coordination meeting to inform attendees about the main aspects of green building:
1.3 Integrative Design: Documentation | Project Application, Plan Review
Include Enterprise Green Communities Criteria information in your contract documents and construction specifications (Division 1 Section 01 81 13 Sustainable Design Requirements) as necessary for the construction team to understand the requirements and how they will be verified. Ensure, and indicate, that the drawings and specifications have been generated to be compliant and meet the certification goals.
Document on all drawings and specifications provided at Application and for Plan Review.
1.4 Integrative Design: Construction Management | Project Application
Create, implement, and document your contractor/subcontractor education plan to ensure that all persons working on-site fully understand their role in achieving the project objectives. Include a summary of the Project Priorities Survey (Criterion 1.1), the sustainability goals, and anticipated roles of each party in regards to the performance expected of the project. Attach and reference this training plan to "EPA Division 1 Section 01 81 13 Sustainable Design Requirements". Include timeline estimates for performance testing and verification schedules in the overall construction schedule. As relevant, review requirements for Criteria 8.1, 8.2, and 8.3, and begin populating these documents with relevant information from design and construction.
Project Mission from Project Properties Survey:
Sustainability Goals:
Anticipated Roles of each party on the construction team:
Describe how the training plan for the construction team will adhere to the referenced
EPA requirements:

## 2. Location
2. LOCATION + NEIGHBORHOOD FABRIC |  | Timeline
2.1 Sensitive Site Protection |  | Project Application
All projects must: 1. Protect floodplain functions (e.g., storage, habitat, water quality) by limiting new development within the 100-year floodplain of all types of watercourses. 2. Conserve and protect aquatic ecosystems, including wetlands and deepwater habitats, that provide critical ecosystem functions for fish, other wildlife, and people. 3. Protect ecosystem function by avoiding the development of areas that contain habitat for plant and animal species identified as threatened or endangered. 4. Conserve the most productive agricultural soils by protecting prime farmland, unique farmland, and farmland of statewide or local importance. If your site contains any of these ecologically sensitive features, follow the specific Requirements under that subheading.
Document if the site is in any of these sensitive site situations, according to Enterprise's list.
If so, describe how the Project will adhere to Enterprise's mitigation recommendations, such as an Ecological Resource Protetion Zone (ERPZ) or document it on the Environmental Phase I and ALTA survey documents. Provide an ERPZ map below, if implementing one:
2.2 Connections to Existing Development and Infrastructure |  | PPA
(Mandatory for New Construction projects that do not qualify as Rural/Tribal/Small Town) Locate the project on a site with access to existing roads, water, sewers, and other infrastructure and within or contiguous to (having at least 25% of the perimeter bordering) existing development. Connect the project to the existing pedestrian network. For sites over 5 acres, provide connections to the adjacent street network at least every 800 feet. Tie all planned bike paths to existing bike paths.
Designate where existing infrastructure will connect on the Site Plan drawings.
2.3 Compact Development |  | PPA
(Mandatory for New Construction) At a minimum, build to the residential density (dwelling units/acre) of the census block group where the project is located. In Rural/Tribal/Small Town locations that do not have zoning requirements: Build to a minimum net density of 5 units per acre for single-family houses; 10 units per acre for multifamily buildings, single and two-story; and 15 units per acre for multifamily buildings greater than two-stories.
What is the density per CNT's tool (http://apps.cnt.org/residential-density), if applicable?
Acreage of proposed site:
2.5 Proximity to Services and Community Resources |  | PPA
(Mandatory for New Construction) Locate the project within a 0.5-mile walk distance of at least four, or a 1-mile walk distance of at least seven, of the listed services. For projects that qualify as Rural/Tribal/Small Town, locate the project within 5 miles of at least four of the listed services.
Select amenities from the table below by highlighting them in yellow and listing in the cell the name of the business and its address. Each “service” type may not be counted more than once. For example, if there are five banks within the required distance, only one may be counted.
Food Access
Farmers market
Community garden that produces fresh food
Full-service grocery store
Other food store with produce
Restaurant, café, diner
Health & Wellness
Pharmacy
Hospital, medical clinic or office that treats patients
Community health center
Gym, health club, or exercise studio open to the public
Public pool
Skating rink
Sport court/field
Public park
Access to public trail network/system – bike and/or pedestrian
Education & Culture
Public library
Place of worship
Educational facility (including K–12 school, university, adult education center, vocational school, community college)
Pre-K or daycare for family Projects only
Cultural arts facility (e.g., museum, performing arts space, concert venue)
Mobility
Bike share/scooter docking station
Accessible transit station or bus line
Proximity to publicly available electric charging station
Civic & Community Facilities
Community or recreation center, including performance space
Police or fire station
Post office
Senior center
Emergency shelter
Retail
Clothing store or department store selling clothes
Hardware store
Services
Bank (with teller hours)
Hair care
Laundry or dry cleaner
Licensed adult or senior care
Licensed childcare
Social services center
2.6 Preservation of and Access to Open Space for Rural/Tribal/Small Town |  | Project Application, Plan Review
(Mandatory for New Construction Rural/Tribal/Small Town) Option 1: Locate the project within a 0.25-mile walk distance of dedicated public open space that is a minimum of 0.75 acres; at least 80% of which unpaved. OR Option 2: Set aside a minimum of 10% (minimum of 0.25 acres) of the total project acreage as open and accessible to all residents; at least 80% of which unpaved.
Requires a separate drawing with open space matrix identifying areas used to calculate the requirement. Collected at Application to confirm that added scope has been considered. Plan review will confirm there is no reductive change to the design.
2.8 Access to Transit |  | PPA
(Mandatory for New Construction projects that do not qualify as Rural/Tribal/Small Town; Optional for all other project types) Mandatory: New Construction, not Rural/Tribal/Small Town Locate projects within a 0.5-mile walk distance of transit services (bus, rail and/or ferry), constituting at least 45 or more transit rides per weekday, with some type of weekend service.
Provide a screenshot of a Google Map showing the walk distance to the nearby transit stops.
Provide a verified list of the transit service and its frequency.
2.15a Access to Broadband: Broadband Ready |  | Plan Review
(Mandatory for New Construction and Substantial Rehab Projects in Rural/Tribal/Small Town Locations) Incorporate broadband infrastructure so that when broadband service comes to a community, the property can be easily connected. Include a network of mini-ducts or conduit throughout the building, extending from the expected communications access point to each network termination point in the building.
Document on Electrical drawings and specifications.

## 3. Site
3. SITE IMPROVEMENT | Timeline
3.1 Environmental Remediation | Project Application
Determine whether there are any hazardous materials present on the site through one of the four methods listed. Mitigate any contaminants found.
Document in the Environmental Phase I.
3.2 Minimization of Disturbance during Staging and Construction | Plan Review
For sites >1 acre, implement EPA's National Pollutant Discharge Elimination System Stormwater Discharges from Construction Activities guidance, or local requirements, whichever is more stringent. For sites with an area < 1, follow guidance in full criterion.
Summarize the strategy (EPA or Enterprise guidance) below. Document on the Landscape drawings.
3.3 Ecosystem Services/Landscape | Project Application
(Mandatory, if providing landscaping) If providing plantings, all must be native or climate-appropriate (adapted) to the region and appropriate to the site’s soil and microclimate. Do not introduce any invasive plant species. Plant, seed, or xeriscape all disturbed areas.
Document on the Landscape Plans.
3.4 Surface Stormwater Management | Plan Review
(Mandatory for New Construction; Mandatory for Substantial and Moderate Rehab projects if land disturbed is > 5,000 sq.ft.) Treat or retain on-site precipitation equivalent to the 60th percentile precipitation event. Where not feasible due to geotechnical issues, soil conditions, or the size of the site, treat or retain the maximum volume possible.
Calculate and document on the Civil Engineering Drawings.
3.6 Efficient Irrigation and Water Reuse | Plan Review
(Mandatory, if permanent irrigation is utilized) If irrigation is utilized, install an efficient irrigation system per the requirements listed.
Document on the Landscape Drawings, if applicable.

## 4. Water
4. WATER | Timeline
4.1 Water-Conserving Fixtures | Plan Review
Reduce total indoor water consumption by at least 20% compared to baseline indoor water consumption chart. Any new toilet, showerhead, and/or lavatory faucet must be WaterSense certified. For all single-family homes and all dwelling units in buildings three stories or fewer, the supply pressure may not exceed 60 psi.
Provide water calculation using the Enterprise Green Communities Water Calculator:
Document on Plumbing drawings and specifications.
4.3 Water Quality | Plan Review
(Mandatory for Substantial Rehabs of buildings built before 1986) Replace all lead service lines. For multifamily buildings with either a cooling tower, a centralized hot water system, or 10+ stories: Develop a Legionella water management program.
Document lead service line replacement on Plumbing drawings and specifications.
Attach the documentation for the Legionella water management program if applicable; it is recommended to use the CDC guided Legionella program submittal.

## 5. Energy
5. OPERATING ENERGY | Timeline
5.1a Building Performance Standard | Project Application, Plan Review
(Mandatory for New Construction) Certify all buildings with residential units in the project through either ENERGY STAR Multifamily New Construction, ENERGY STAR Manufactured Homes, and/or ENERGY STAR Certified Homes as relevant. AND Provide projected operating energy use intensity and projected operating building emissions intensity. | Initial Closing
Document on the Constructions Drawings at Project Application. Provide the ENERGY STAR certification at Plan Review.
5.1b Building Performance Standard | Project Application
(Mandatory for Rehab) Provide projected operating energy use intensity and projected operating building emissions intensity. AND Conduct commissioning for compartmentalization, insulation installation, and HVAC systems as indicated. AND one of the following options: - ERI Option: <= HERS 80 for each dwelling unit. Exception for some Rehabs built before 1980. - ASHRAE Option: Energy performance of the completed building equivalent to, or better than, ASHRAE 90.1-2013 using an energy model created by a qualified energy services provider according to Appendix G 90.1-2016.
Provide an energy audit with the PNA.
5.6 Sizing of Heating and Cooling Equipment | Plan Review
(Mandatory for Substantial and Moderate Rehabs that include replacement of heating and cooling equipment. Not relevant for projects following 5.1a, 5.2b, or 5.4.) Size and select heating and cooling equipment in accordance with ACCA manuals J and S OR in accordance with the ASHRAE Handbook of Fundamentals
Document in the Manual J calculations.
5.7 ENERGY STAR Appliances | Plan Review
(Mandatory for Substantial and Moderate Rehabs providing appliances. Not relevant for projects following 5.1a, 5.2b, or 5.4.) Install ENERGY STAR clothes washers, dishwashers, and refrigerators. If appliances will not be installed or replaced at this time, specify that at the time of installation or replacement, ENERGY STAR models must be used via Criterion 8.1 and Criterion 8.4.
Document on the Cutsheets and in the Program Manual.
5.8 Lighting | Plan Review
(Mandatory for all lighting within New Construction and Substantial Rehab projects. Mandatory for new lighting in Moderate Rehab projects.) Follow the guidance for high-efficacy permanently installed lighting and other characteristics for recessed light fixtures, lighting controls, lighting power density, and exterior lighting.
Document on the Electrical drawings and specifications.

## 6. Materials
6. MATERIALS | Timeline
6.4 Healthier Material Selection | Plan Review
Select all interior paints, coatings, primers, and wallpaper; interior adhesives and sealants; flooring; insulation; and composite wood as specified.
List out materials to document avoidance of prohibited materials according to Enterprise's table for this criterion. List in comment area, list products not introduced into project.
All interior paints, coatings, primers and wallpapers:
All interior adhesives and sealants:
Flooring:
Insulation:
Compostie Wood:
6.6 Bath, Kitchen, Laundry Surfaces | Plan Review
(Mandatory for New Construction and Substantial Rehab. Moderate Rehabs that do not include work in the shower and tub areas are exempt from the shower and tub enclosure requirement.) Use materials that have durable, cleanable surfaces throughout bathrooms, kitchens, and laundry rooms. Use moisture-resistant backing materials per ASTM # D 6329 or 3273 behind tub/shower enclosures, apart from one-piece fiberglass enclosures which are exempt.
Document on the Construction drawings.
6.8 Managing Moisture: Foundations | Plan Review
(Mandatory for all New Construction projects and all Rehab projects with either basement and/or crawl space foundations) Install capillary breaks and vapor retarders that meet specified criteria appropriate for the foundation type.
Document on the Construction drawings.
6.9 Managing Moisture: Roofing and Wall Systems | Plan Review
(Mandatory for all Rehab projects that include deficiencies in or include replacing particular assemblies called out below. New Construction projects are considered compliant per Criterion 5.1.) Provide water drainage away from walls, window, and roofs by implementing the list of techniques.
Document on the Construction drawings.
6.10 Construction Waste Management | Plan Review
Develop and implement a waste management plan that reduces non-hazardous construction and demolition waste through recycling, salvaging, or diversion strategies through one of the three options.
Provide a waste hauler recycling report at the end of the project as evidence of effort in the Project Manual.

## 7. Health
7. HEALTHY LIVING ENVIRONMENT | Timeline
7.1 Radon Mitigation | Application, Plan Review
(Mandatory for New Construction and Substantial Rehab) For New Construction in EPA Zone 1 areas, install passive radon-resistant features below the slab and a vertical vent pipe with junction box within 10 feet of an electrical outlet in case an active system should prove necessary in the future. For Substantial Rehab projects in EPA Zone 1, test before and after the retrofit and mitigate per the specified protocols.
Document on the Environmental Phase I at Project Application. Document on Plumbing drawings at Plan Review.
7.2 Reduce Lead Hazards in Pre-1978 Buildings | Final Closing
(Mandatory for Substantial Rehab of Buildings Constructed Before 1978) Conduct lead risk assessment or inspection to identify lead hazards. Control identified lead hazards using lead abatement or interim controls, using lead-safe work practices that minimize and contain dust.
Provide findings on the Lead Survey Report and in the O&M plan.
7.3 Combustion Equipment | Plan Review
For New Construction and Rehab projects: Specify power-vented or direct-vent equipment when installing any new combustion appliance for space or water heating that will be located within the conditioned space. If there are any combustion appliances within the conditioned space, install one hard-wired carbon monoxide (CO) alarm with battery backup function for each sleeping zone, placed per National Fire Protection Association (NFPA) 72. For Rehabs: If there is any combustion equipment located within the conditioned space for space or water heating that is not power-vented or direct-vent and that is not scheduled for replacement, conduct combustion safety testing prior to and after the retrofit; remediate as indicated.
Document in the Mechanical Drawings.
7.4 Garage Isolation | Plan Review
• Provide a continuous air barrier between the conditioned space and any garage space to prevent the migration of any contaminants into the living space. Visually inspect common walls and ceilings between attached garages and living spaces to ensure that they are air-sealed before insulation is installed. • Do not install ductwork or air handling equipment for the conditioned space in a garage. • Fix all connecting doors between conditioned space and garage with gaskets or make airtight. • Install one hard-wired CO alarm with battery backup function for each sleeping zone of the project, placed per NFPA 72 unless the garage is mechanically ventilated or an open parking structure.
Document on the Construction drawings and in the Project Manual.
7.5 Integrated Pest Management | Plan Review
Seal all wall, floor, and joint penetrations with low-VOC caulking or other appropriate nontoxic sealing methods to prevent pest entry.
Document on the Construction drawings and in the Project Manual.
7.6 Smoke-Free Policy | Closing
Implement and enforce a smoke-free policy in all common areas and within a 25-foot perimeter around the exterior of all residential buildings. Lease language must prohibit smoking in these locations and provide a graduated enforcement policy. Make the smoke-free policy readily available.
Include the policy in your closing packet. No other documentation is required for this criterion at this time.
7.7 Ventilation | Plan Review
(Mandatory for New Construction and Substantial Rehab; Optional for Moderate Rehab) For each dwelling unit in full accordance with ASHRAE 62.2-2010, install: • A local mechanical exhaust system in each bathroom • A local mechanical exhaust system in each kitchen • A whole-house mechanical ventilation system Verify these flow rates are either within +/- 15 CFM or +/- 15% of design value. For all project types, in addition to the above requirements: • All systems and ductwork must be installed per manufacturer's recommendations • All bathroom fans must be ENERGY STAR-labeled and wired for adequate run-time. • If using central ventilation systems with rooftop fans, each fan must be direct-drive and variable-speed with speed controller mounted near the fan. Fans with design CFM 300-2000 must also have an ECM motor.
Document in the Mechanical drawings.

## 8. Operations
8. OPERATIONS, MAINTENANCE + RESIDENT ENGAGEMENT | Timeline
8.1 Building Operations & Maintenance Manual and Plan | Project Closing
(For all Multifamily projects) Develop a manual with thorough building operations and maintenance (O&M) guidance and a complementary plan. The manual and plan should be developed over the course of the project design, development, and construction stages, and should include sections/chapters addressing the list of topics.
Document in the O&M Plan.
8.2 Emergency Management Manual | Project Closing
(For all Multifamily projects) Provide a manual on emergency operations targeted toward operations and maintenance staff and other building-level personnel. The manual should address responses to various types of emergencies, leading with those that have the greatest probability of negatively affecting the project. The manual should provide guidance as to how to sustain the delivery of adequate housing throughout an emergency and cover a range of topics, including but not limited to: • communication plans for staff and residents • useful contact information for public utility and other service providers • infrastructure and building, "shutdown" procedures • plan for regular testing of backup energy systems, if these exist
Include the manual in your Project closing packet. No other documentation is required for this criterion at this time.
8.3 Resident Manual | Project Closing
Provide a guide for homeowners and renters that explains the intent, benefits, use, and maintenance of their home's green features and practices. The Resident Manual should encourage green and healthy activities per the list of topics.
Include the manual in your final closing packet. No other documentation is required for this criterion at this time.
8.4 Walk-Throughs and Orientations to Property Operation | Project Application
Provide a comprehensive walk-through and orientation for all residents, property manager(s), and buildings operations staff.
Narrative about how this process will work at the Project and what will be covered in these orientations.
8.5 Energy and Water Data Collection and Monitoring | Operations (quarterly)
For rental properties, upload project energy and water performance data in an online utility benchmarking platform annually for at least five years from time of construction completion per one of the four methods provided; grant Enterprise view access for that period. For owner-occupied units, collect and monitor utility data in a manner that allows for easy access and review.
Obtain ENERGY Star Portfolio Manager. Provide online access to IHDA.Enterprise@ihda.org OR email a Word or Excel file to IHDA.Enterprise@ihda.org at the end of each fiscal quarter starting the month the Project receives its Certificate of Occupancy.

## Options (hidden)
Yes
NA
Waiver Request